## MU inj JEC
Sl.No | NAME of the FEEDER/INJECTION POINT | METER No. | LAST READING | PRESENT READING | DIFFERENCE | M.F. | ENERGY (In M.U.) | REMARKS
A. | Energy Injection From GSS/SS At 33KV
1 | 33 KV MARIANI-TITABAR | IEM00000237A | 1415.51 | 1467.63 | 52.12 | 120 | 6.2544
2 | 33 KV MARIANI-BAGDHARA (ONGC) | IEM00000370A | 319.84 | 323.06 | 3.22 | 60 | 0.1932
3 | 33 KV PGCIL | IEM00000351A | 13.82 | 13.82 | 0 | 60 | 0
4 | 33 KV PGCIL-II(IRCA Consumer) | 21102176 | 28.32 | 30.98 | 2.66 | 15 | 0.0399
5 | 33 KV MARIANI-DHAPATBARI | IEM00000282A | 365.2 | 379.87 | 14.67 | 60 | 0.8802
6 | 33 KV MORIANI | IEM00000269A | 1155.21 | 1195.18 | 39.97 | 120 | 4.7964
7 | 33 KV KOLIAPANI-TEOK | IEM00000341A | 650.619 | 673.833 | 23.214 | 120 | 2.7857
8 | 33 KV KOLIAPANI-BHOGAMUKH | IEM00000408A | 110.534 | 114.115 | 3.581 | 120 | 0.42972
9 | 33 KV TEOK-KAKOJAN | IEM00000454A | 661.145 | 681.838 | 20.693 | 120 | 2.4832
10 | 33 KV JORHAT-I | IEM00000393A | 981.17 | 1020.542 | 39.372 | 120 | 4.7246
11 | 33 KV JORHAT-II | IEM00000410A | 990.64 | 1012.303 | 21.663 | 120 | 2.5996
12 | 33 KV JORHAT-III | IEM00000129A | 700.82 | 722.873 | 22.053 | 180 | 3.9695
13 | 33 KV GARMUR | IEM00000328A | 365.07 | 375.583 | 10.513 | 180 | 1.8923
14 | 33 KV KOLAKHOWA-KAKOJAN | IEM00000540A | 693.13 | 725.868 | 32.738 | 120 | 3.9286
15 | 33 KV MURMURIA LINE | IEM00000484A | 364.86 | 386.234 | 21.374 | 90 | 1.9237
16 | 33 KV Stadium Fdr | Q1025028 | 6702.7 | 7865.5 | 1162.8 | 2 | 2.3256
17 | 33 KV GARAMUR | IEM00000261A | 1903.46 | 1970.756 | 67.296 | 30 | 2.0189
18 | 33 KV PHULONI | IEM00000462A | 1084.4 | 1124.6 | 40.2 | 30 | 1.206
19 | 33 KV BONGAON | IEM00000472A | 445 | 460.96 | 15.96 | 30 | 0.4788
20 | 33 KV Dergaon | IEM00000192A | 1097.41 | 1128.66 | 31.25 | 120 | 3.75
21 | 33KV Panichukua | IEM00000184A | 398.43 | 413.77 | 15.34 | 120 | 1.8408
22 | 33 KV Pulibar | IEM00000214A | 583.92 | 604.58 | 20.66 | 120 | 2.4792
23 | 33 KV Ajanta Bypass | IEM00000390A | 504.63 | 519.95 | 15.32 | 120 | 1.8384
24 | 33 KV Panichokua-Gotonga | IEM00000400A | 260.42 | 269.64 | 9.22 | 120 | 1.1064
SUB-TOTAL (A) | [6 empty] | 53.945
B. | Add energy injected into the Circle through interface points from other circles
| 33 KV WOKHA-BORHOLLA | 8876853 | 9.0565 | 11.5275 | 2.471 | 24 | 0.059304 | Import from GEC
| 33 KV KAMARBONDHA-GOTONGA | 8876696 | 0.747 | 2.222 | 1.475 | 12 | 0.0177 | Import from GEC
3 | 11 KV GABHORU (From AMGURI S/s) | 20090467 | 7.68 | 7.68 | 0 | 2 | 0.015 | Import from Sivsagar Circle
4 | 11 KV GAURISAGAR-CHINTAMANIGARH | AS675622 | 13414.73 | 13414.73 | 0 | 0.5 | 0
5 | 11 KV GAURISAGAR-KHANAMUKH | AS799650 | 5293.16 | 5293.16 | 0 | 0.5 | 0
6 | 11 KV Khanamukh-Charingia | 20112442 | 52.69 | 52.69 | 0 | 2 | 0
| 11KV BOSA(ATHKHELIA) | 8876722 | 126.209 | 172.606 | 46.397 | 3 | 0.13919 | Import to JEC(Titabor ESD)
8 | 33 KV Radhabari-Rangoliting | 8876928 | 590.8195 | 646.323 | 55.5035 | 24 | 1.3321
9 | 33 KV KHOOMTAI-RANGOLITING | 8876931 | 21.7775 | 24.069 | 2.2915 | 6 | 0.013749 | Meter changed on 28.05.25
| SUB-TOTAL (B) | [5 empty] | 1.577
C. | Less Energy Diverted from the Circle through interface points to other circles
1 | 33 KV GOTONGA-KAMARBONDHA | 8876908 | 1.4375 | 1.4375 | 0 | 24 | 0 | Export to GEC(GESD-II) Meter Changed on 25.06.25
2 | 33 KV Radhabari-Rangoliting | 8876928 | 22.67 | 23.802 | 1.132 | 24 | 0.027168 | Export to GEC(Kamargaon)
3 | 33 KV KHOOMTAI-RANGOLITING | 8876931 | 60.897 | 63.759 | 2.862 | 6 | 0.017172 | Export to GEC (Meter changed on 28.05.25)
| 33KV WOKHA-BORHOLA | 8876853 | 90.165 | 97.146 | 6.981 | 24 | 0.16754 | Export to GEC
5 | 11 KV FEEDER No. 6 (FROM TEOK SUBDIVISION TO GAURISAGAR S/D) | [5 empty] | 0 | Export to Gaurisaar ESD (CT PT DAMAGED)
| SUB-TOTAL (C) | [5 empty] | 0.21188
TOTAL ENERGY INJECTED = (A+B)-C | [6 empty] | 55.3102
TOTAL ENERGY RECEIVED BY THE CIRCLE:- |  |  |  |  | 55.3102 |  | MU
D. | OPEN ACCESS ENERGY | [5 empty] | ENERGY (In M.U.) | REMARKS
Name of Injection Points
ENERGY RECEIVED AT THE JORHAT CIRCLE FOR THE MONTH Of June , 2026 to be billed in July 2026